Module Guide

MINS 311: Measurement & Instrumentation

| Course Administrators | - Instructor: Ms. R T Moalosi - Contact information: Block 3, Office No.5 - Phone: +267-493-1808, Email: moalosir@biust.ac.bw |
| --- | --- |
| Resources | - Primary Book: Measurement and Instrumentation Principles by Alan S. Morris, Reza langar - Secondary Book: Measurement principal by Dominique placko |
| Timetable | Provided through department master timetable |

Learning outcome

After finishing this course, the students should be able to:

- Know the importance of measurement systems in industries

- Select and calibrate the appropriate sensors, calculate sensibility, errors, and repeatability.

- Design and use of amplifiers with measurement systems to

facilitate the reading of output signal Noise filtering to reduce reading    errors

- Convert analogy signal into digital signal to be saved into a

computer

- Teamwork projects about the use of measurement systems in real

industrial applications.

Topics

The subject matter for this course includes materials in the form of lecture slides and notes to cover the following topics:

| Week No: | Topics Covered |
| --- | --- |
| 1 | Metrics measurement Functional elements of an instrument |
| 2 | Static and dynamic characteristics Errors in measurement |
| 3 | Statistical evaluation of measurement data Standards and calibration |
| 4 | Description of various types of transduction principles |
| 5-6 | Measuring Instrument |
| 7 | Noise in Measurement |
| 8 | Data acquisition systems |
| 9-10 | Techniques for signal analysis. |
| 11-12 | Bridges |

Assessment and Evaluation

Assessment in the following areas will be converted to points, to compute your final grade in the course.

Note: All the required course-specific written reports/assignments will be assessed not only on their technical/academic merit, but also on the communication skills exhibited through them.

| Assessment Item | Marks |
| --- | --- |
| Project /labs | 8% |
| Assigments | 8% |
| 7th week Test | 12 % |
| 12th week Test | 12% |
| Final Exam | 60 % |
| Total | 100 % |

Class Attendance

Attendance is required! Please be in class on time. Attendance will be taken at the beginning of each class period. In case you are not present when attendance sheet is passed on, you will be marked.

absent. If you are late for more than 15 minutes you will not be allowed into the classroom not to cause distraction.

Make-up Tests and Late Homework Policy

NO makeup test will be given, and late assignments or project will not be accepted unless the reason is beyond the student's control and penalty is likely to be applied. Do not abuse the use of excuses because in the end it is of no use!

Duly Performed (DP) Requirements

Students shall not be allowed to present themselves for the final examination in any module unless they have attained the College minimum requirements of 40% for the Continuous Assessment and attendance at 90% of all lectures, practical, tutorials and fieldwork required for the module; or as otherwise specified for the module. These should be taken to mean Minimum DP Requirements. In the module syllabus section individual modules may specify higher or additional requirements.